Birzeit University

Physics department

Physics 211

Student’s name: Ahmad Hammouri 	Student’s number: 1071811

Partners name: Anas Abu halaweh 	partner number:

Partner’s name: Mariana Mosallam 	partners number: 1100343

Experiment number: (9)

Experiment name: Thermal conductivity

Date:26/3 /2012

Instructor: Dr. Wael .Q

Abstract:

In this experiment , the value of   k (the thermal conductivity ) of an insulating material ,ebonite was determined using the lees Disk method and the result was

K=0.10± 0.06 W/k.m

Theory:

Thermal conductivity of a certain substance can be measured by putting the substance  desired as a medium between two heat reservoirs with ones tempreture higher than that of the other , heat transfer will follow  the equation :

dQ/dt= -KA(dT/dx)

A:cross sectional area of the thermal conductor

dx: is the thikness

dT :is the temperature difference across its ends

the rate also depends on mass and its heat capacity c

dQ/dt=-MC(dT/dt)

by ploting T vs t  one can find dQ/dt for a substance with known mass and heat capacity from that K be found by similar manipulations.

experimental :

- suspend the lees disk horizontally .

- start heating the water container and observe the temperature T1 and T2 as the steam passes  through the  cylinder .

- when the temperature stopes  changing record the two tempreturs .

- remove the cyllender and heat the copper for  extra 10 degrees  T2+10.

- Stop heating and allaw the copper to cool and recording T as a function of time .

- Measure  the thickness and diameter and the mass of the mass of the c slap .

Data:

Data analysis :

| time (s) | temp c0 |
| --- | --- |
| 0 | 52 |
| 105 | 50 |
| 190 | 48 |
| 315 | 46 |
| 440 | 44 |
| 592 | 42 |
| 750 | 40 |
| 900 | 38 |
| 1110 | 36 |
| 1275 | 34 |
| 1600 | 32 |
| 1880 | 30 |

Slope =(dT/dt)= -0.0117 ± 0.00144 (c0/s)

dQ/dt=-MC(dT/dt)T2

M=990g

C(Cu)=0.386 J/gmk

T2=38c0

K=(4MCd(dT/dt)T2)/(πD2(T1-T2))

= (4*990*0.386*0.00383*0.0117)/(3.14*(0.0121)*( 28))

=0.065 (W/K.m)

∆k/k=∆slope/slope +∆d/d+∆D/D+∆M/M+∆T1/T1+∆T2/T2=0.91701

∆k=0.059605  W/K.m

K=0.065 ± 0.059605

Results and conclusion :

K=0.10± 0.06 W/k.m

The theoretical value for the ebonite  is 0.17 (W/K.m)

The percentage error = 40%

Discussion of results:

The diameter and the thickness measured was not of the actual disk that we used in the experiment but a smaller one by the instructions of the assistant  so the approximation isn’t  close  and the error is huge and the results cannot be considered to report the value of the theremal conductivity of the ebonite

Conclusion :

Further testing is needed for reporting the value.